## SUMMARY
PROPOSED GMDT SHED EXPANSION
SUMMARY
Sl.No | Sub Head |  | Amount
1 | #REF! | Rs. | #REF!
2 | PROPOSED GMDT SHED EXPANSION | Rs. | #REF!
3 | PROPOSED GMDT SHED EXPANSION - FLOORING | Rs. | #REF!
4 | PROPOSED GMDT EXPANSION - OFFICE BLOCK | Rs. | #REF!
5 | #REF! | Rs. | #REF!
| Contract Total | Rs. | #REF!
| Total | Rs. | #REF!

## GMDT GBW BOQ
GENERAL BUILDER WORK
Priced Schedule of Quantities
Sl.No | Description | Quantity | Unit | Rate | Amount
EARTH WORK
1 | Excavate foundation in all kinds of soil including soft rock except hard rock requiring blasting part return and fill in foundation and basement in layers not exceeding 15cm in depth including watering, breaking clods and consolidating, disposing and spreading surplus eafth within the site up to 1.5m depth. Excavation costs should include all necessary shoring, dewatering, and backfilling with available earth. The rate for excavation should be inclusive of storing and levelling the excavated earth within the site or backfilling in layers in the foundation. The rate is also inclusive of stacking suitable excavated earth at a place as erected by the engineer and as and when required transporting the earth from the stacking location and filling in the foundations. Surplus soil shall be dumped and levelled as per the direction of the Engineer in charge". Outer to outer of PCC will be considered for payment. | 1300 | M.CUBE |  | 0
2 | -do- 1.50 m to 3.00 m | 1000 | M.CUBE |  | 0
3 | Supplying and filling in foundation trenches and basement under floors with lime sand 1:3 mix (1 part lime, 3 parts m.sand) including thorough mixing, watering and consolidating. Note: Tenderer to obtain approval for the type of lime to be used from Employers. Lime & sand shall be mixed in the mixture machine before laying Lime sourced shall be approved quality and shall conform to IS standard. Wet lime shall not be allowed for work. | 120 | M.CUBE |  | 0
4 | Supplying and filling in basement with Quarry or Crusher dust of approved quality filling in basement plinth or backfilling of foundation not exceeding 15cm in depth well watered and consolidated. Quarry dust should be measured and paid as per the excavation measurement after deducting the sand filling/lime sand filling/leveling course/Footing/raft/pedestal/plinth beams quantities. Quarry dust with mainly fine particles will not be accepted. | 70 | M.CUBE |  | 0
5 | Supplying and filling with Malaimann or equivalent soil of approved non-swelling earth quarried from tenderer's sources, spreading in layers of 20 cm. Watering and rolling at OMC using Vibratory power roller of 8 or 10 ton static weight and compacting to achieve at least 98% of modified proctor density,dry density excedding 1.8 gm/cc, PI value less than 6 and CBR value more than 10 including dressing up the top surface necessary excavation, transporting to and unloading at site,with all leads and lifts,royalties,seigniorage charges, all duties and levies , taxes complete (Payment on the basis of compacted fill volume assessed based on pre levels and post levels of ground prior to commencement and after completion of compacted fill as approved.). Malaimann should have disintegrated/weathered rock of size less than 75 - 100mm mixed with gravelly soil with fines passing 4.75mm sieve not exceeding 50% - 55% and PI value for fines not exceeding 6 and the CBR value should be more than 10. "Note: 1. Tenderer to visit site and surrounding quarries and ensure that adequate quantity of approved quality fill material is available and quote accordingly. Only approved fill material will be allowed to unload at site. 2. The quoted rate to include the cost of malaimann with all Govt levies, duties, taxes, royalties,seigniorage charges and all incidental charges . 3. The quantity of fill indicated is approximate and may vary plus or minus without any limit and the quoted rate is applicable for entire quantity of fill." | 6050 | M.CUBE |  | 0
6 | Supplying and Filling subgrade with approved granular sub-base comprising hard granite crushed aggregate confirming to grading 1 of table 400- 1 of MoRTH(min CBR of 30) brought from outside in layers not exceeding 30cm in depth, watering rolling each layer with vibratory roller of minimum 8 tonnes, compacting under optimum moisture conditions to 98% of modified proctor density including transport loading, unloading and all leads and lifts all complete. | 1150 | M.CUBE |  | 0
7 | Provide and lay wet mix macadam in layers not more than 125 mm thick of each layer using crushed granite stone aggregate and granular material premixed with water spreading over prepared sub grade/ sub base to profile, compacting with 8 to 10 t vibratory roller at optimum moisture content complete all as laid down in clause 406 of MORTH ( 4th Revision ). Mixing shall be done using a pug mill or concrete batching plant having provisions forcontrolled addition of water and forced/positive mixing. The grading of aggregates shall conform to table 400-11 of MORTH ( 4th Revision) as follows:- IS SEIVE DESIGNATION %ge by wt passing In mm 53.00 100 45.00 95-100 26.50 -- 22.40 60-80 11.20 40-60 4.75 25-40 2.36 15-30 600 microns 8-22 75 microns 0-8. | 900 | M.SQ |  | 0
8 | Providing and injecting chemical emulsion using Chloropyriphos mixed as a water emulsion in a ratio 1:19 or equivalent for anti-termite treatment and creating a chemical barrier all around the column pits, wall trenches, top surface of plinth filling, junction of wall and floor, along the exterior perimeter of the building, expansion joints, surroundings of pipes and conduits etc. all complete as per IS 6313 (part II) 1981. (The plinth area of the building on the ground floor only shall be measured excluding yard / open areas). | 6000 | M.SQ |  | 0
9 | Filling and compacting the available earth in layer by layer (within site premises) including watering and rolling, at OMC using a Vibratory power roller of 8 or 10 ton static weight and compacting to achieve at least 95% of standard proctor density. | 350 | M.CUBE |  | 0
10 | Disposal of surplus/ excavated earth away from the site as directed by the engineer-in-charge. The cost should also include the cost of necessary lead, lift, loading, and unloading of soil all complete as directed. Necessary permission to be obtained from local authorities/ Owners of the dumping yard and the documents of like NOC to be submitted to the client. No extra shall be payable on this account. | 2500 | M.CUBE |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
CEMENT CONCRETE
11 | Providing and laying of cement concrete M10 garde(1:3:6) using a coarse aggregate of 20 mm and downsize for levelling course under footings, steps, walls, platform, and floors, etc. at all levels & heights including laying layers of specified thickness in drawing as directed including formwork wherever necessary and well compacted, etc. all complete, as directed. | 95 | M.CUBE |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
R.C.C WORK
12 | RCC M25 (Design Mix) using hard blue granite metal 20mm and down gauge including centering, shuttering, curing etc., complete but excluding cost of reinforcement, at all levels.
12.1 | In column footings including raft slab/beam & pyramidal portions. | 290 | M.CUBE |  | 0
12.2 | In pedestals of required size, profiles , sizes | 100 | M.CUBE |  | 0
12.3 | In columns in foundation and basement of required profiles,sizes | 10 | M.CUBE |  | 0
12.4 | In Columns in superstructure of required profiles , sizes, at all levels | 10 | M.CUBE |  | 0
12.5 | Encasing of Structural steel Column (Payment will be made only for the concrete volume laid) | 40 | M.CUBE |  | 0
12.6 | In RCC Suspended slab | 10 | M.CUBE |  | 0
12.7 | In Beam & Brackets | 10 | M.CUBE |  | 0
12.8 | In Plinth /floor beam of required size,profiles at all levels | 85 | M.CUBE |  | 0
12.9 | In RC mullions, transoms in between brickwork of required profile. | 10 | M.CUBE |  | 0
11.1 | In Sill Slabs of required thickness,at all levels | 15 | M.CUBE |  | 0
11.11 | In Lintel of required thickness,at all levels | 10 | M.CUBE |  | 0
11.12 | In RCC Raft | 10 | M.CUBE |  | 0
11.13 | In RCC wall of required thickness, shape & profile at all levels | 5 | M.CUBE |  | 0
13 | Extra/Rebate over for different grades of concrete including cost of all admixtures. (Difference in weight of cement shall be measured based on cement co-efficient provided on the tender document and basic rate of cement will be considered). | 3000 | KG |  | 0
14 | Supply, cleaning, straighten, handle, cut bend, crank, fix and tie in position in all RCC items of work including cost of GI binding wire 18SWG double strand complete. (On actual length measurements of fabricated steel work , including authorised lappages only at theoritical weight for different sections payment will be made).
14.1 | Mild steel. | 5 | MT |  | 0
14.2 | High Yield Strength Deformed bars in all RCC items & floorings General Note: Sizes of RCC elements shown in the drawing are only indicative and subject to change .No extra shall be payable on this account. Any change in size of concrete elements resulting in change of area of shuttering due to change in quantity of concrete shall also not be payable. | 72 | MT |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
MASONRY WORK
15 | Providing and constructing Brickwork of locally available best quality table moulded bricks of not less than 50kg/sq.cm crushing strength in cement mortar 1:5 (1 cement,5 sand) in foundation and plinth. No extra payment will be paid for any shape or size,turnings, fins, etc unless otherwise specified seperately. | 135 | M.CUBE |  | 0
16 | Providing and constructing Brickwork of with locally available best quality table moulded bricks of not less than 50kg/sq.cm crushing strength in cement mortar 1:5 mix (1 cement ,5 sand) in superstructure. No extra payment will be paid for any shape or size, turnings, fins, etc unless otherwise specified seperately. | 250 | M.CUBE |  | 0
17 | Providing and constructing solid concrete block ( 400 x 200mm ) masonry wall 200mm thick and crushing strength as per IS code in CM 1:5 (1 cement, 5 sand) in foundation and plinth at all levels. No extra payment will be paid for any shape or size, turnings, fins, etc unless otherwise specified separately. Prior approval for makes to be obtained from Client/Consultants. | 25 | M.CUBE |  | 0
18 | Providing and constructing solid concrete block ( 400 x 200mm ) masonry wall 200mm thick and crushing strength as per IS code in CM 1:5 (1 cement, 5 sand) including all necessary scaffolding, racking out joints, finishing neatly including simultaneous pointing curing, etc., in superstructure all complete as directed. No extra payment will be paid for any shape or size, turnings, fins, etc unless otherwise specified separately. Prior approval for makes to be obtained from Client / Consultants. | 25 | M.CUBE |  | 0
19 | Half brickwork with locally available best quality table moulded bricks of not less than 50kg/sq.cm crushing strength in CM 1:4 (1 cement 4 sand ) and reinforced with two numbers of 6mm dia. M.S rods at every fourth course embedded in cement mortar 1:4 for partitions. | 50 | M.SQ |  | 0
20 | Brickwork of with locally available best quality table moulded bricks of not less than 50kg/sq.cm crushing strength in cement mortar 1:5 mix (1 cement ,5 sand) in steps. No extra payment will be paid for any shape or size, turnings, fins, etc unless otherwise specified seperately. | 30 | M.CUBE |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
FLOORING
21 | Reinforced cement concrete flooring in panels of approved size in M30 design mix but excluding the cost of reinforcement including shuttering, compacting, and finishing the surface smooth with mechanical power trowel all complete as directed. (Reinforcement will be paid under the relevant item.). Necessary groove cutting shall be done as per MoRTH. The cost of cutting and filling with necessary sealant shall be measured under the relevant item of work. Surface tolerance shall be Â± 4mm and for overall shop will be Â±10mm. | 95 | M CUBE |  | 0
22 | Dewatering of 150-200mm thick RCC flooring by using vacuum dewatering method. | 550 | M.SQ |  | 0
23 | Supply and laying of Vapormat 250 micron thick synthetic vapor barrier of LDPE sheet made out of 100% virgin LDPE(necessary test certificate to be given) or equivalent in 5to 6 m width and 30 -50 m length as per the product specification.Vapormat Shall be spread over the surface with an average overlap of 100mm and the laps are welded (15mm+20mm+15mm) by automated hot air fusion wedge welding machine .After laying the reinforcement ,wherever damages are found ,the damaged areas shall be repaired by patch welding using hot air gun before laying the concrete. | 500 | M.SQ |  | 0
24 | Extra for adding to the concrete 100% virgin polypropylene fibre mesh (stealth e3) at the rate of 0.45 kg/cu.m during mixing process. Fibres from synthetic industries inc. USA or equivalent as approved by Architect/ Client to be used, all complete as directed. | 250 | KG |  | 0
25 | Supplying and Fixing Armour joint for Slab thickness of 150-200mm. The rate is inclusive of diamond dowels @ 0.6m c/c on both sides from approved manufacturer. The place formwork and armoured joint system installed all complete as per manufacturer's specification` | 25 | RM |  | 0
26 | Providing Fosroc Nitofloor hard top or BASF Master top 100 or equivalent floor hardener using the dosage at the rate of a minimum of 2.5kg/sqm for heavy-duty applications. The application shall be as per the manufacturer's specification and ensure uniform spreading of hardener all complete. The rate shall include the cost of finishing the surface neatly using the approved mechanical trowels along with flooring. | 560 | M.SQ |  | 0
27 | Applying surface treatment using Ashford formula from Curecrete chemicals company USA or liquid hard from WR Medows Inc USA or equivalent to act as curing ,hardening,dustproofing,abrasion resistant and also bonds, seals and water proof the surface. The contractor to prepare the surface and apply in time inorder to achieve good performance of the application.It is the responsibility of the contractor to get the initial shine of acceptable level by rubbing and cleaning.Rate shall include cost of finishing the surface neatly using the approved mechanical trowels along with the flooring. Colour variation after finishing is not acceptable. | QRO | M.SQ |  | 0
28 | Prepare the surface and apply three coats of Epoxy - NITO COAT EP140 to have 2mm (2000 micron) including providing NITO COAT VP void filler wherever required all complete as directed. Note: 1) Floor expansion joints should be maintained in the NITROFLOOR SC 2000 topping and shall be filled by compatable 2 part gun gauge,polysulphide sealent Thioflex 600 to ensure perfect bonding between SC topping on either side of the joint. 2) The actual thickness of the coatings applied shall be confirmed by measuring with instruments at your cost 3) Vaccum dewatered concrete surface will be given. 4) Tenderer to submit alternative offer for the same 5) Tenderer also to submit detailled technical catalogues for the item quoted and also for the alternative offers. | 600 | M.SQ |  | 0
29 | Providing and laying 18mm thick machine cut and polished granite stone of approved quality, uniform shade, matching grains and size in flooring, ledges, skirtings, steps nosing in CM 1:4 of minimum thickness 20mm jointed with white cement slurry and pointing with matching pigments including rounding off nosing,rubbing , forming grooves of required size in the plastering of sides of steps and final polishing all complete as per detailed architectural drawing. Tenderer to apply a coat of epoxy or fibre glass or any other application at the back of the stone to ensure that no dampness occurs after laying of stones. (Basic cost of Granite - Rs.180/ft) (excluding GST). Any difference in the basic price and OHP at the time of approval shall be adjusted for the laid area. No extra shall be payable for laying in pattern/borders etc. | 30 | M.SQ |  | 0
30 | Providing and laying 18mm thick machine cut and polished granite slabs of approved quality over a bed of 15mm thick CM 1:3 over counter and preparation tables including providing bevelling of edges of required profile, polishing, waxing all complete as directed.(Basic cost of Granite - Rs.180/sft) (excluding GST) Any difference in basic price and OHP at the time of approval shall be adjusted for the laid area. | 15 | M.SQ |  | 0
31 | Providing & laying first class full body vitrified ceramic tile of make Kajaria/ Restile/Johnson or equivqlent of size 600mmx600mmx 9.5mm or approved size of approved colour (satin finish) in flooring using spacer of required size (2mm-4mm) from endura or equivalent over a bed of cement mortar 1:4 of required thickness to match finished floor level mentioned and to match the neighbouring floor finish and jointed with epoxy grout of approved shade from Bal Endura or equivalent brand all complete as directed.(Basic cost of tile - Rs.65/sft)(excluding GST).Any difference in basic price and OHP at the time of approval shall be adjusted for the laid area.No extra shall be payable for forming any pattern in the flooring like border, cut tiles,etc. | 50 | M.SQ |  | 0
32 | Providing & laying first class full body vitrified ceramic tile of make RAK/Restile/Johnson/Kajaria of size 600mmx600mmx10mm or approved size of approved colour (matt finish) in flooring using spacer of required size (2mm-4mm) from endura or equivalent over a bed of cement mortar 1:4 of of required thickness to match finished floor level mentioned and to match the neighbouring floor finish and jointed with with epoxy grout of approved shade from Bal Endura or equivalent brand all complete as directed.(Basic cost of tile - Rs.65/sft) (excluding GST).Any difference in basic price and OHP at the time of approval shall be adjusted for the laid area.No extra shall be payable for forming any pattern in the flooring like border, cut tiles,etc. | 90 | M.SQ |  | 0
33 | Providing and laying 300x450mm from RAK/Restile/Johnson/Kajaria glazed tiles of plain series(satin finish) in dado set in CM 1:3 with joints so as to form a true & even surface and joints finished neatly with white cement mixed with matching pigments all complete as directed.(Rate should include base plastering with CM 1:5 of required thickness.)The rate shall include cost of providing 6mmx6mm groove in the plastering at top of the tile all complete as directed.The rate shall also include cost of border tile from kajaria (300x200mm) or equivalent as shown in the drawing all complete as directed.(Basic cost of tile - Rs.50/sft) (excluding GST).Any difference in basic price and OHP at the time of approval shall be adjusted for the laid area.No extra shall be payable for forming any pattern in the flooring like border, cut tiles,etc. | 150 | M.SQ |  | 0
34 | Providing and fixing 18MM thick machine cut and machine polished kotah stone in Flooring of approved shade in CM 1:4 with flush pointing of joints and wax polishing etc. complete as directed.The rate should include cost of providing 6mmx6mm groove in the plastering at top of the stone all complete as directed. | 30 | M.SQ |  | 0
35 | Providing and laying 18mm thick machine cut and polished Kotah stone of approved shade in treads and risers of steps and landings in CM 1:4 of minimum thickness 20mm jointed with white cement slurry and pointing with matching pigments including rounding of nosing , rubbing, forming grooves of required size in the plastering of sides of steps and final polishing all complete as directed. | 40 | M.SQ |  | 0
36 | Providing and laying 18mm thick machine cut and polished kotah stone of approved shade and size over a bed of 15mm thick CM 1:3 on parapet tops, cill tops, planter boxes, etc including polishing on all exposed sides and rounding off all edges to required profile all complete as directed. | 40 | M.SQ |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
STEEL WORK
37 | Supplying and fixing rolling shutters of approved makes made of 18 gauge, 80mm wide rolled MS lathe interlocked throughout their entire length and jointed together by end locks and mounted on specially designed pipe shaft with superior flet spring (enclosed on suitable boxes) complete with brackets, side guides and arrangements for inside and outside locking with mechanical devices and motor driven device for operation. The motor-driven device for operation shall be of the suitable capacity of approved manufacture like Toshi/Kirloskar/Bonfiglioly or equivalent. The rate should include the cost of providing necessary holes in the Masonry/RCC with pipe sleeves of suitable dia to facilitate both sides operation. Rolling Shutter to be designed to withstand a wind speed of 180 km/hr. (Only structural opening will be measured for the purpose of payment.) Make - Gandhi, Avians, Hormann, or equivalent. | 85 | M.SQ |  | 0
38 | Providing and fixing in position Guardian general purpose door manufactured by Shakti met-Door limited or equivalent confirming to IS 3614(PART-2)1992 BS 4769(part-20&22) and ISO 834 or latest revisions with door frames of 1.20mm thick galvanised steel sheet press formed to the rebated profile of size 100x57mm with chamfered bottom frame filled with concrete and fixed in position with metallic expansion shield with counter sunk screws and door leaves made up of 0.80mm thick galvanised steel sheet press formed to provide a 46 mm thick fully flush, double skin door shell with lock seam joints at style edges with no visible joints, screws, welding on the face of the shutter. Internal reinforcements are provided at the top, bottom and style edges for fire rating, and double shutter doors are to be provided with a meeting style. general purpose door manufactured by Shakti met-Door Limited or equivalent confirming to IS 3614(PART-2)1992 BS 4769(part-20&22) and ISO 834 or latest revisions with door frames of 1.20mm thick galvanised steel sheet press formed to the rebated profile of size 100x57mm with a chamfered bottom frame filled with concrete and fixed in position with metallic expansion shield with counter sunk screws and door leaves made up of 0.80mm thick galvanised steel sheet press formed to provide a 46 mm thick fully flush, double skin door shell with lock seam joints at style edges with no visible joints, screws, welding on the face of the shutter. Internal reinforcements are provided at the top, bottom and style edges for fire rating, double shutter doors are to be provided with meeting styles. The rate is inclusive of necessary welding with columns. | 6 | M.SQ |  | 0
Door to be provided with rectangular/circular view panel as indicated in architectural drawings all as per manufacturer's specifications including providing necessary hardware like stainless steel imported steel butt hinges, handle, mortice lock, door closure, handle from Dorma or equivalent make, handles all as per European standards, door stopper, painting with Duco spray paint standard, painting finish of approved colour and shade over approved primer all complete. (Measurement of the door for payment will be from the outer to outer frame in elevation only). The rate shall include the cost of grouting with concrete in the frame and also welded in the steel column/ frame. The rate should also include the cost of Silicon sealant at the junction of the Wall/frame to be done on both sides. Provisions like holes, hardware etc, are to be provided to receive the access control arrangements
39 | Providing and fixing in position Guardian general purpose door manufactured by shakti met-Door limited or equivalent confirming to IS 3614(PART-2)1992 BS 4769(part-20&22) and ISO 834 or latest revisions with door frames of 1.60mm thick galvanised steel sheet press formed to rebated profile of size 100x57mm with chamfered bottom frame filled with concrete and fixed in position with metallic expansion shield with counter sunk screws and door leaves made up of 1.20 mm thick galvanised steel sheet press formed to provide a 46 mm thick fully flush,double skin door shell with lock seam joints at style edges withno visible joints ,screws,welding on the face of the shutter. Internal reinforcements provided at top,bottom and style edges for fire rating ,double shutter doors to be provided with a meeting styles. Door to be provided with rectangular or circular view panel as indicated in architectural drawings all as per manufacturer's specification including providing necessary hardware like stainless steel imported steel butt hinges,mortice lock,door closure, handles from Dorma or equivalent all as per European standards ,door stopper, painting with Duco spray paint finish of approved colour and shade over approved primer all complete.(Measurement of door for payment will be from the outer to outer framein elevation only).Rate shall include cost of grouting with concrete in the frame and also welded in steel column/ frame. The rate should also includes cost of necessary sealent at the junction of Wall/frame to be done on both sides. Provisions like holes, hardwares etc, to be provide to receive the access control arrangements. | 17 | M.SQ |  | 0
40 | Extra for providing and fixing panic bar arrangements in either single leaf or double leaf shutterof shaktimet door or equivalent including necessary hardwares etc., complete.Each shutter shall have one panic bar all as per manufacturer's specification and as directed. | 10 | Each |  | 0
0
41 | Extra for providing and fixing auto closing device at bottom in either single leaf or double leaf shutter of Shaktimet door or equivalent including necessary hardwares etc., complete. Each shutter shall have one camlock assembly all as per manufacturer's specification and as directed. Auto closing assembly components shall have colour similar to door colour. | 5 | Each |  | 0
0
42 | Supplying fabricating and fixing in position insert plates of required size and shape in RCC members/Masonry at all heights including necessary straightening ,cutting, holing, welding, lugs of required size and painting with a shop coat of anti corrosive primer paint all complete as directed. | 1 | M.T |  | 0
0
43 | Supplying, fixing, and fabricating as per approved drawing in single/built up section comprising of ISMC sections, M.S angles, channels, plates, tube, Pipe, ISMC box section, etc. including bolts and nuts, straightening, cutting, holing, welding, fixing in position in alignment and levels and painting with a shop coat of anticorrosive primer all complete as directed. The rate shall be inclusive of embedding the members in the concrete/masonry also wherever required. | 3 | M.T |  | 0
0
44 | Providing, cutting, fabricating, welding, erecting edge angles and buffer channels including necessary lugs and fixing in concrete/Masonry as per Architectural drawings all complete including painting a coat of approved anti-corrosive primer all complete as directed. | 1 | M.T |  | 0
0
45 | Same as above but for TATA tube/pipe section | 3 | M.T |  | 0
46 | Providing and fixing MS pipe bend to shape for steel bollards, etc with ends fixed to the wall/floor with necessary lugs grouted. Tenderer to ensure bent should not have any dents or reduction in dia. Special may be used at the bends, etc to achieve this all complete as directed. The rate shall inclusive of two coats of enamel with necessary putty to have uniform shade and finish etc, all complete as directed. | 2 | M.T |  | 0
47 | Supplying and fixing of stainless steel sections of required finish using SS tubes, flats, ropes, rods, nuts & bolts of size and shape as per detailed architectural drawing including necessary cutting, welding, grinding, buffing, and polishing all complete upto the satisfaction of the Consultants/Client. Note: All SS pipe used shall be of SS304 grade only. | 0.5 | M.T |  | 0
0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
ALUMINUM WORK
48 | Providing, fabricating, and fixing in-position anodized (Finish & sections match with existing) Aluminium Windows with or without fixed glazing panels on the side or top all as per Architect's drawings.Fabricated with Aluminium extruded Indal sections of weight specified in the drawing including providing and fixing clear float glass of required thickness and of the approved manufacturer and fixed with U-tube glazing gasket snap-on beadings, etc. including all necessary SS friction hinges of approved make and size, locking arrangements etc all complete as per detailed architectural drawing. | 165 | M.SQ |  | 0
49 | Providing, fabricating and fixing in-position colour anodised Aluminium ventilators with or without fixed glazing panels on the side or top all as per Architect's drawings. Fabricated with Aluminium extruded Indal sections of weight specified in the drawing including providing and fixing clear float glass of required thickness and of approved manufacturer and fixed with U-type glazing gasket snap-on beadings, etc. including providing necessary hardware, locking arrangements etc all complete as per detailed architectural drawing. | 20 | M.SQ |  | 0
50 | Providing,fabricating and fixing in position natural anodised subframe made out of Indal section 4174,62x14x2mm thick and the dimensions of the subframe shall be as per the window,ventilator and door sizes specified in the drawings and painted with two coats of Zinc Chromate primer before installation.The subframe shall be placed in the masonry opening and fastened to plumb and true alignment and plastered in level with sill sloped for water to drain off easily. After plaster all civil works external and internal may be taken up including a coat of paint and completed. The Aluminium window outer frame shall be kept ready and installed to the subframe with self taping screws GKW make/stainless steel screws.The shutters with glass shall be fitted within the outer frame at the appropriate time. | 450 | R.M |  | 0
51 | Providing, fabricating, and fixing in position aluminium louvers made out of industrial troughed (20 gauge aluminium sheet of indal make as per (IS1254-1975) including fixing with 10mm dia. bolts all as per detailed drawings. | 1.6 | M.T |  | 0
52 | Providing, fabricating, and fixing in-position anodized (Finish & Sections match with existing) Aluminium Windows with aluminium diamond mesh all as per Architect's drawings. Fabricated with Aluminium extruded Indal sections of weight specified in the drawing including providing and fixing diamond mesh of minimum 2mm thick and of the approved manufacturer and fixed with U-tube glazing gasket snap-on beadings, etc. including all necessary accessories of approved make and size, locking arrangements etc all complete as per detailed architectural drawing. The vendor needs to get approval from the client/Consultants before procumbent. | 250 | M.SQ |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
PLASTERING
53 | Prepare surfaces and plaster with CM 1:3(1 cement, 3 sand) ,12mm minimum thick (sponge finish) to ceiling sides and soffit of beams and columns and other interior and exterior RCC surfaces not contiguous to masonry. | 110 | M.SQ |  | 0
54 | Prepare surfaces and plaster with CM 1:5(1 cement, 5 sand) ,minimum 12mm thick to all interior faces of walls (sponge finish) including RCC surfaces not contiguous to masonry. Necessary internal grooves of size 10mmx10mm shall be carried out as shown/directed by engineer-in-charge. | 1350 | M.SQ |  | 0
55 | Prepare surfaces and plaster with CM 1:5(1 cement, 5 sand) ,(sponge finish) 12mm minimum thick to all external faces of brick walls including RCC surfaces not contiguous to masonry in all levels.Necessary external grooves of size 20mmx10mm shall be carried out as directed/shown by engineer-in-charge. | 1800 | M.SQ |  | 0
56 | Exposed aggregate plaster using 4/6/8 mm granite aggregate or natural stone chips over cement paste of 4mm thickness including base plaster of 12mm thickness minimum. with cement mortar 1:5 (1 cement,5 sand) .The granite aggregate should be applied to uniform texture to the exterior faces of walls in strip panels or bands with necessary grooves to detail. | 50 | M.SQ |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
PAINTING
57 | Prepare surfaces and paint with three coats of cement paint of approved colour and manufacture to all interior and exterior faces of walls, sunshades, facias, fins, drops etc in all floors.No extra shall be paid for sponge finish.The paint materials need to fulfill the IGBC (Low VOC , etc) requirements. | 250 | M.SQ |  | 0
58 | Prepare surfaces and paint two coats of plastic emulsion paint of approved colour over two coats of Alltek S/R putty and primer all complete as per manufacturers specifications to all interior faces of walls in all floors.The paint materials need to fulfill the IGBC (Low VOC , etc) requirements. | 1050 | M.SQ |  | 0
59 | Prepare surfaces and paint two coats of Sandex matt or 'Apcolite Apex' paint or equivalent over a coat of primer of approved colour and manufacturer over approved primer to exterior faces of walls sunshades,facias,fins,drops, bands etc all as per detailed manufacturer's specification at all heights.The paint materials need to fulfill the IGBC (Low VOC , etc) requirements. | 1500 | M.SQ |  | 0
60 | Prepare surfaces and paint with two coats of synthetic enamel paint of approved colour and manufacture over a coat of approved anticorrosive primer to iron work at all heights.The paint materials need to fulfill the IGBC (Low VOC , etc) requirements. | 500 | M.SQ |  | 0
61 | Supply and Applying of Texture Finished wall [Asian paints] or equvalant of 4m thick. The rate is including preparing the surfaces and applying base coat and top coat including applying two coats of emulsion paint. all materials & labours necessary scrapping, cleaning, scaffolding etc., complete. The paint materials need to fulfill the IGBC (Low VOC , etc) requirements. | 805 | M.SQ |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
DISMANTLING
62 | Existing RCC surface of 200mm to 250mm thick cutting using of Diamond cutting machine, the rate should include of all materials, labour charges, etc. All are as completed as directed. | 250 | RM |  | 0
63 | Dismantling plastered brick/Block walls in cement mortar including cleaning, scaffholding, stacking the useful materials as directed by engineer-in-charge, and disposing of the debris away from site all complete as directed. | 200 | M.CUBE |  | 0
0
64 | Dismantling the existing RCC concrete using a diamond cutting machine including the reinforcement, stacking the useful materials , disposal of debris all complete as directed.The cost should also include cost of necessary lead, lift, scaffholding, loading and unloading of material.Necessary permission to obtained from local authorities/ Owners of dumping yard, no extra shall be payable on this account. | 110 | M.CUBE |  | 0
0
65 | Dismantling the PCC below flooring including stacking the useful materials, disposing the debris away from site all complete as directed.The cost should also include cost of necessary lead, lift, loading scaffholding, and unloading of material.Necessary permission to obtained from local authorities/ Owners of dumping yard, no extra shall be payable on this account. | 50 | M CUBE |  | 0
66 | Removing of Existing Steel door including stacking useful materials as directed by engineer incharge within the site and disposing the debris away from site all complete as directed. | 30 | M.SQ |  | 0
67 | Dismantling the existing Aluminium window including stacking the useful materials, and disposing the debris away from the site all complete as directed, | 450 | M.SQ |  | 0
68 | Dismantling the existing Aluminium Partitions including stacking the useful materials, and disposing the debris away from the site all complete as directed, | 150 | M.SQ |  | 0
69 | Removing of Existing structural steel with necessary accessories, including stacking useful materials as directed by the engineer in charge within the site and disposing of the scrap/debris away from the site all complete as directed by the engineer in charge. | 5 | MT |  | 0
70 | Removing of Existing Rolling shutter including, scaffolding and necessary accessories, stacking useful materials as directed by the engineer in charge within the site, and disposing the debris away from site all complete as directed. | 65 | M.SQ |  | 0
71 | Refixing of the Existing Steel door including stacking useful materials as directed by the engineer in charge within the site and disposing the debris away from site all complete as directed. | 35 | M.SQ |  | 0
72 | Refixing of the Existing Rolling shutters including, scaffolding and necessary accessories, stacking useful materials as directed by the engineer in charge within the site, and disposing of the debris away from the site all complete as directed. | 60 | M.SQ |  | 0
73 | Refixing of the Existing Aluminium Window including, scaffolding and necessary accessories, stacking useful materials as directed by the engineer in charge within the site, and disposing of the debris away from the site all complete as directed. | 160 | M.SQ |  | 0
74 | Removal of existing tree including necessary cutting, transport, etc, and all complete as directed by Engineer in Charge. | 50 | EACH |  | 0
75 | Removal and replanting of existing tree including including necessary Excavtion, filling soil mixture of farmyard manure, red earth and river sand, one month maitenace for the tree grooving, etc and all complete as directed by Engineer in Charge. If any trees damaged while removing it should be disposed away from the site. | 125 | EACH |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0
MISCELLANEOUS
76 | Cement concrete plinth protection around the building formed of plain c.c 1:3:6 (using steel shuttering moulding) precast slab of size approximately 45x45x5cm using 12mm to 19mm gauge graded blue granite stone metal laid over well consolidated quarry dust filling 10cm depth to required level ,grade or slope pointing the joints neatly with CM 1:3 including necessary sand/quarry dust filling, earth work dressing and ramming the bed disposal of earth, and dressing sides . etc complete as directed. | 200 | M.SQ |  | 0
0
77 | Providing & fixing precast plain cement concrete 1:3:6 kerb stone (using steel shuttering molding) of approximate size 45cmx 30cm, 10cm thick using 12mm to 19mm gauge hard blue granite stone metal at the outer side of plinth protection including necessary earthwork, disposal of earth, dressing a bed with 75mm thick PCC and providing slopes packing with cement mortar etc all complete as directed. | 300 | RM |  | 0
0
78 | Constructing brick masonry rainwater harvesting pit in CM 1:5 with 1000mmx2000mm(internal clear size), necessary excavation and PCC 1:5:10 mix 100mm thick ,230mm thick brick side walls in CM 1:5 upto a depth of 650mm including internal and external plastering of cement mortor of 1:3, fixing perforated slotted pipe of 200mm diameter and filling with Pebbles of approved type of size 63mm to 40mm all complete as directed all completed as per standard design drawing/direction of architect/ engineer in charge. | 16 | Nos |  | 0
0
79 | Constructing brick masonry manhole chamber in CM 1:5 with 600mmx600mm (internal clear size) C.I cover and frame 900mmx 900mm with frame and cover weighing 50kg , necessary excavation and foundation concrete 1:4:8 mix 150mm thick,230mm thick brick side walls in CM 1:5 inside plastered with cement mortar 1:3 and finished with a floating coat of neat cement and making channels in CC 1:2:4 neatly finished complete as per standard design upto a depth of 2m or as per site conditions. | 3 | Nos |  | 0
79.1 | Same as above but 750x750mm (Clear size) | 5 | Nos |  | 0
79.2 | Same as above but 900x900mm (Clear size) | 5 | Nos |  | 0
80 | Providing and fixing 10mm thick expansion pads from supreme or equivalent between RC columns or walls/ floors all compete as directed.Rate shall be inclusive of scaffolding etc., at all levels. | 100 | M.SQ |  | 0
0
81 | Providing and fixing 18-20mm thick pads from supreme or equivalent between RC columns or walls/ floors all compete as directed.Rate shall be inclusive of scaffolding etc., at all levels. | 65 | M.SQ |  | 0
0
82 | Providing and filling PU sealent or equivalent in the construction joints in floor by cutting the floor joint using dimond cutting machine of required size & depth (1/3 of total thickness), cleaning the groove completely , affixing masking tape on both sides of the joints, applying suitable primer on both the faces of the joint ,cutting and placing polyethylene debonding tape ,mixing and applying the suitable sealent to the primed joints, tooling the sealent followed by a smooth finish ,removing the masking tape and tooling the edges all complete as per manufacturer's specification and Architect's instructions / approval.
82.1 | 3mm x 6mm ( expansion Joint) | 500 | RM |  | 0
0
82.2 | 20mm x 10mm ( expansion Joint) | 25 | RM |  | 0
0
83 | Supplying and pouring non-shrink grout (Shrinkkomp 40) or equivalent in the foundation pockets as per manufacturer's specification including necessary shuttering ,seal taps,cleaning the debris and mortar etc. all complete as directed. | 5 | M.CUBE |  | 0
84 | "Supplying and embedding P.V.C rain water pipes of approved quality embedded inside the RC columns/masonry in position with all necessary specials like shoes , bends or any other specials required to suit site conditions etc., jointed with wavin cement and lubricants with necessary MS clamps,brackets ,bolts and nuts all complete as directed. 200mm dia-6kg/sq.cm" | 75 | RM |  | 0
85 | "Supplying and embedding P.V.C rain water pipes of approved quality embedded inside the RC columns/masonry in position with all necessary specials like shoes , bends or any other specials required to suit site conditions etc., jointed with wavin cement and lubricants with necessary MS clamps,brackets ,bolts and nuts all complete as directed. 160mm dia-6kg/sq.cm" | 30 | RM |  | 0
86 | "Supplying and embedding P.V.C rain water pipes of approved quality embedded inside the RC columns/masonry in position with all necessary specials like shoes , bends or any other specials required to suit site conditions etc., jointed with wavin cement and lubricants with necessary MS clamps,brackets ,bolts and nuts all complete as directed. 110mm dia-6kg/sq.cm" | 60 | RM |  | 0
87 | Fixing in position to alignments and levels of mild steel foundation and anchor bolts of required length with anchor plates, nuts,washers,etc in rcc pedestal and grouting with non-shrink grout co-ordinating with PEB Work. | 6 | MT |  | 0
88 | Providing and fixing various dia Tor steel into drilled holes in the flooring for a depth of 75mm as per detailed architectural drawing including grouting with 'Lockset-S' as per manufacturer's specification. (The cost of steel will be paid under the relevant item. For the purpose of payment individual drill holes will be measured on unit basis.)
88.1 | 10mm Lockset | 700 | Nos |  | 0
88.2 | 12mm Lockset | 250 | Nos |  | 0
88.3 | 16mm Lockset | 150 | Nos |  | 0
89 | Providing and fixing Chemical Anchor Fasteners of Hilti Make or equivalent conforming to IS 1367 Part 3 as specified below at required locations and level including drilling the hole, cleaning with blow pump and anchoring the bolt with chemical as per manufacturer's specifications etc complete as directed by Engineer In Charge for..
89.1 | M12 x 110 foil capsule (HVU) & M12 x 160 Rod | 25 | Nos |  | 0
89.2 | M16 x 125 foil capsule (HVU) & M16 x 190 Rod | 25 | Nos |  | 0
89.3 | M20 x 170 foil capsule (HVU) & M20 x 240 Rod | 50 | Nos |  | 0
89.4 | M24 x 210 foil capsule (HVU) & M24 x 290 Rod | 35 | Nos |  | 0
90 | Supply and fixing of scaffolding towards Rental charges for Double width metal scaff folding upto 8mtr high for external and internal all complete as directed by the engineer incgarge. | 400 | M.SQ |  | 0
91 | Providing and fixing in position gypboard M/F suspended ceiling system along with grid system consisting of: GRID: (A) GI perimeter channel fixed all round to the wall/partition by screws at intervals, not more than 600mm. (B) Intermediary GI channels suspended from the ceiling at not more than 1200mm intervals by GI strap hangers /6mm MS rod in one direction. (C) GI ceiling sections fixed at right angles to Intermediary channels at intervals not more than 600mm with screws at intervals of 300mm approximately. CEILING: 12.5mm gypboard of tapered edge fixed to the underside of the ceiling section using suitable metal screws taped and filled to give a smooth seamless surface of absolute level including painting the surface with coat of gypsum primer with necessary coat of alltek s/r putty and two coats of plastic emulsion paint over the primer/Birla putty or equivalent including providing cutout for light fittings and AC diffuser etc. with addtional supports as required for stiffner like plywood or equivalent ,material to prevent from Sag/warping of tiles, shadow runner at wall junctions or etc | 50 | M.SQ |  | 0
92 | Providing and fixing suspended Grid ceiling system using hot dipped galvanized steel section, exposed surface chemically cleaned,capping prefinished in backed polyester paint consisting of Trulok suspension system of silhouette XL 15mm designer grids of white color with necessary main runners, cross 'T' runners and wall angles, accessories etc. from Armstrong/AMF or equivalent all complete as per manufacturer's specification.The suspension ceiling is filled up with 15mm thick 'Dune' board-texured finish RH99/equivalent board of size 600mmx600mm with spacer panel using 12mm thick gypboard to make up for odd sizes along pheripery and also in grids all complete as directed. The rate should include providing clip/lock pin over the web, of 'T' section over the Armstrong/equivalent board and additional material like stiffner ply/equivalent material required in cutouts for lighting points, AC grills and diffusers etc to prevent from sag/warping of tiles.Necessary extra suspenders and frame shall be provided.The rate should include cost of providing necessary Aluminum box sections as approved by architect as a pelmet of shape and profiles as required all around the perephery of walls/ partitions all complete as directed. The Gypsum board will be measured under the relevant item of work | 50 | M.SQ |  | 0
93 | Supplying and fixing of Aluminium composite panel of 4mm thick from Alucobond / equivalent in cladding of approved colour with aluminium 50 x 50 x 1.5mm angles fixed on wall or structural monitor as required to suit the elevation with necessary anchor fasteners from Hilti / Equivalent all complete as directed. The panel size fabricated with suitable size aluminium angle fixed with main angle, sealant (GE ultraglaze SSG 4000 or Dow corning 995) provided between the joints of the composite panel as approved by client/architect all complete as per detailed architectural drawings. Tenderer to submit certification from the sealant manufacturer for the sealant application. NOTE: 1) Exposed area of ACP only will be considered for payment. 2) All groove shall be treated as shown in drawing 3) Typical drawing showing details of fixation shall be submitted along with document 4) Aluminium composite panels shall be of 4mm thick consisting of two aluminium cover sheets (0.50mm thick) of peraluman alloy - 100(AlMgl), EN AW - 5005 A according to EN 485-2 & plastic or high mineral filled core - Top cover sheets coated with PVDf & reverse side in mill finish. 5) The ACP panel size shown in the drawing is only indicative and subject to change and no extra shall be payable on account of panel size change. 6) Shop drawing shall be approved by the client / architect prior to fabrication and erection. | 15 | M.SQ |  | 0
94 | Providing hoarding(Temporary) for the entire length of the building at the approved location of required height from FFL using new galvalume/Colour coated sheets (0.47mm TCT Galvalume/0.5mm TCT Colour coated sheets to be approved by the architects before the commencement of work) with adequate supports, necessary scaffolding, hardware, etc., all complete as directed. (For purpose of payment total length of the hoarding multiplied by height in elevation on one side without overlapping will be measured.) The hoarding shall be upto the project completion stage. The height of the hoarding shall be 8ft. The rate should be inclusive of the necessary gate. The entire hoarding shall be designed to withstand the wind load. After completeion of the project it will be return back by the vendor. | 850 | M.SQ |  | 0
95 | Providing Green Cloth Netting barrigation as per standards and all complete as directed by Client/Architects. After completeion of the project it will be return back by the vendor. | 850 | M.SQ |  | 0
96 | Providing New Tarpaulin barrication as per standards and all complete as directed by Client/Consultants. After completeion of the project it will be return back by the vendor. | 850 | M.SQ |  | 0
97 | Providing and laying RCC hume pipe (NP-2) with collars ,jointing in CM 1:2 with spun yarn etc. complete.Rate inclusive of necessary excavation aligning, curing, refilling, consolidating etc.complete as directed.
97.1 | 300mm dia | 25 | RM |  | 0
97.2 | 450mm dia | 20 | RM |  | 0
97.3 | 600mm dia | 20 | RM |  | 0
97.4 | 900mm dia | 30 | RM |  | 0
98 | Pipe rack- Pedestal as per drawing and the rate shall include excavation, PCC, shuttering, centering, RCC, and reinforcement steel all as complete as directed. The Insert plate and supporting steel sections are measured under the relevant item. Size - 500x500x600mm(Minimum) | 90 | NOS |  | 0
99 | Supply of below mentioned items
99.1 | Supply of Cement Bag(50Kg) - Coromental, Ultratech & Zhuari | 150 | NOS |  | 0
99.2 | Supply of M.Sand | 100 | M.CUBE |  | 0
99.3 | Supply of Bricks - 1st class | 5000 | NOS |  | 0
99.4 | Supply of Emulsion paint | 100 | Liters |  | 0
99.5 | Supply of Enamel paint | 100 | Liters |  | 0
99.6 | Supply of 20mm aggregate | 50 | M.CUBE |  | 0
99.7 | Supply of 40mm aggregate | 30 | M.CUBE |  | 0
99.8 | Supply of JCB | 300 | HR's |  | 0
99.9 | Supply of Tractor | 20 | Day |  | 0
99.1 | Supply of Tipper | 10 | Day |  | 0
| TOTAL C.O. TO SUMMARY |  |  | Rs. | 0