## Sheet1
Sr No | Group | Description | Unit | Qty | Rate | Total Amount
1 | CAPITAL WORKS
603B |  | 11 kV feeder bay with Gantry Structure & PT | No. | 130 | 898000 | 116740000
1230 |  | 11 kV SPECIAL DESIGNED TRANSFORMER | No. | 150 | 302000 | 45300000
2 | LINE WORKS |  |  |  |  | 0
907 |  | 11kV, Pin type with 55 Sq. mm AAAC conductor on 100 X 116 mm 9 mtr RSJ poles | Km | 1428 | 643000 | 918204000
916 |  | 11kV, 3 core X 95 sqmm XLPE Underground Cable | Km | 12 | 1244000 | 14928000
1220 |  | 100 KVA DTC on RSJ, 110 X 116, 11 mtr with Kit Kat DB | No | 769 | 292000 | 224548000
1425A |  | 3 phase 5 wire LT line with AAAC 55 sqmm for phase and ACSR Weasel for neutral on PSC pole, 8 mtr., 140 Kg | Km | 288 | 347000 | 99936000
6723 |  | 11 kV AB Switch 400 Amp with DP structure | No | 564 | 69000 | 38916000
924 |  | Single pole cut point structure for 11 KV line on RSJ 11 m pole | No | 535 | 52000 | 27820000
922 |  | Double pole structure(cut point) of- 11 KV line using 11 m long RSJ pole | No | 286 | 79000 | 22594000
919 |  | 11kV, Major river crossing with 55 sqmm overhead conductor on 152X152MM,13 mtr RSJ pole for one span of 100 mtr. | No | 33 | 218000 | 7194000
935B |  | Railway crossing | No | 9 | 569000 | 5121000