## Sheet1
Group | Sub Group1 | Sub Group1 | sr no | Description | Unit | Qty | Rate | Total Amount
CAPITAL WORKS |  |  | 1
CAPITAL WORKS |  |  | 603 | 11 kV feeder bay with Gantry Structure & PT | No | 130 | 898000 | 116740000
CAPITAL WORKS |  |  | 1230 | 11 kV SPECIAL DESIGNED TRANSFORMER | No | 150 | 302000 | 45300000
LINE WORKS |  |  | 2 |  |  |  |  | 0
LINE WORKS |  |  | 907 | 11kV, Pin type with 55 Sq. mm AAAC conductor on 100 X 116 mm 9 mtr RSJ poles | Km | 1428 | 643000 | 918204000
LINE WORKS |  |  | 916 | 11kV, 3 core X 95 sqmm XLPE Underground Cable | Km | 12 | 1244000 | 14928000
LINE WORKS |  |  | 1220 | 100 KVA DTC on RSJ, 110 X 116, 11 mtr with Kit Kat DB | No | 769 | 292000 | 224548000
LINE WORKS |  |  | 1425 | 3 phase 5 wire LT line with AAAC 55 sqmm for phase and ACSR Weasel for neutral on PSC pole, 8 mtr., 140 Kg | Km | 288 | 347000 | 99936000
LINE WORKS |  |  | 6723 | 11 kV AB Switch 400 Amp with DP structure | No | 564 | 69000 | 38916000
LINE WORKS |  |  | 924 | Single pole cut point structure for 11 KV line on RSJ 11 m pole | No | 535 | 52000 | 27820000
LINE WORKS |  |  | 922 | Double pole structure(cut point) of- 11 KV line using 11 m long RSJ pole | No | 286 | 79000 | 22594000
LINE WORKS |  |  | 919 | 11kV, Major river crossing with 55 sqmm overhead conductor on 152X152MM,13 mtr RSJ pole for one span of 100 mtr. | No | 33 | 218000 | 7194000
LINE WORKS |  |  | 935 | Railway crossing | No | 9 | 569000 | 5121000