DATE :  24 /07/2022

WORK ORDER

To,

Prince Fabrication

Address: Sr.Ni 21/4 , Katraj-Kondwa Road,Sukhsagar Nagar,Katraj,Pune 46

PAN NO:

Mobile no: 7875282887/7066073937

Kind Attn: Dharam Singh Bansiwal

Sir,

With reference to your quotation and subsequent discussions we are pleased to offer you the Fabrication

(Window grill) work on labour with material basis of residential building A2 for the project “ GREEN  HIVE PLUS” ,

located at Phursungi .All the work should be carried out as per the specification and terms and condition

mentioned below. You are requested to go through all the terms and condition, scope of work , rate ,value

of work order and other norms to understand the agreement between us . In case of any queries regarding terms

and conditions, norms or rate you are kindly requested to discuss with us in head office and also in site office

You will be given two copy of work order .You have to submit one copy in head office with your signature to

give your acknowledgement and complete acceptance of this work order. After that no further changes will be

made in any circumstances.

CONTRACT VALUE:

- The agreed Rates for the defined scope of work, technical specification, working   drawings, terms and

Conditions are as follows

| Sr. No. | Description of Item | Unit | Rates | Qty | Amount |
| --- | --- | --- | --- | --- | --- |
| 1 | Providing & Fixing window Grill | Sq.ft. | 90.00/- | 4260 | 383400 |

- Work Order value for the this work is 383400/-

- The rates quoted / accepted shall be inclusive of all expenses of material and labour, tools and plants, transportation, loading/unloading.

- The contract rates for each item/work in the BOQ shall remain firm until the successful completion of the work within the stipulated time period as mentioned in the WO and shall not attract any escalation on any account.

- The include rates quoted for each item / work in the BOQ shall be deemed to and cover all cost, expenses and

- liabilities to every description and all risk of every kind to be taken during execution of and handing over the

- work to the satisfaction of the client till work completion period mentioned in WO.

- The Contractor to comply with all labour laws if applicable or any other law affecting “Contractor – Client”

- relationship and further agrees that the Contractor at his own expenses shall obtain all necessary permissions

- and licenses to execute the job, including required registrations.

TAXES AND DUTIES:

- The above rates are inclusive PF & ESIC and of all taxes.

- Applicable Statutory deduction such as TDS(1%) shall be deducted from the contractor’s running bill

as per the rules in force.

PAYMENT TERMS

- Corrected bills are to be submitted by the contractor as per stages of completion of work.

- Running Bills shall be submitted by contractor to the billing engineer and project manager shall certify the same according to the actual stages of work. Following deductions shall be effective in the running as, when and if applicable.

- 5% of bill amount shall be retained from each billing as a retention amount from which 2.5% will be released after 6 month from submission of last RA bill & 2.5% after 12 months. Defect liability period starting from the completion of last stage bill up to 1 year.

- 3.5 % bill amount shall be retained against cleaning,

- Payment of the amount due as per certified running bill will be made within 15 working days of submission of the corrected bill.

- Rates are including rework due to other contractor work like plumber, electrical, aluminum, doors, tiling. No extra amount shall be paid for above work at any case.

- In case of variation in level of taxes, then the variation will be considered and reimbursed as applicable otherwise the rates are firm up to completion of total work.

- Work carried out earlier by other agency will be directly debited from your first RA Bill.

MODE OF MEASURMENT:

- The mode of measurement shall be per square feet. Measurement will be taken as area of opening. No projected area will be considered.

- All quantities of work physically executed will be measured jointly and paid for at contract rates. It has already been clarified in negotiations that the quantities appearing in Bill of Quantities are only indicative. The work will be carried out as per Architectural drawings, actual site conditions and instructions of Architects/Consultants/Clients for the full completion of work. Quantity variation will not have ceiling limit in respect of individual item and individual quantities can vary to any extent. Such variation shall not warrant any claim for modifications to already quoted and accepted rates. Hence the rates applicable in the contract will be for actual quantities of work done irrespective of the quantities given in BOQ.

- If any changes in drawings should not be considered as additional work and no extra payment will be given for that work.

- If extra items are required to be carried out at site, the items shall have prior approval from Project Manager. Rate for such items shall be finalized further based on quote & governing market rates, certified by the EIC/ Client.

SCOPE OF WORK :

- Contractor shall be responsible for proper fixing and installation and finishing  of window grill as per drawing or as

per the instruction of site in charge

- Before inspection. Contractor should check  the work done by the labor

- The contract rates shall include all the arrangement for the welding and fabricating equipments like welding machine cable and welding rods etc.

- Design dyes required for the Fabrication shall be arranged by the Contractor.

- Contractor shall provide test reports of material from Government approved Lab as required & as instructed by EIC .

- Gauge & dimension Shall be as per specification & drawings provided to the work contractor or as per instruction given by Project in charge. the EIC shall reserves the right to reject the material if it is not as per given specifications.

- The Contractor shall apply double coat of red –oxide paint to all the mild steel surfaces.

- Make of welding rods shall be Mangalam / Adani or as instructed & approved by EIC.

- Contractor shall make a sample and shall get it approved by EIC prior to start the work.

- The Horizontal legs of grill should be welded. Joints should be welded properly and smoothly Proper anchoring / fixing arrangement should be made with Masonry wall at site. Right angle pieces should be welded at site at the middle level of the Masonry wall.

- Fabrication jobs should be handed carefully while transporting and erecting at places. Avoiding the damages of other completed works

- Check the line & level and plumb while fixing of Grills.

- Wastage will be the responsibility of the Contractor. Owner will not be held responsible.

- The contractor shall provide skilled labours - 10 Nos & unskilled labours – 10 Nos.

INSPECTION & TESTING OF MATERIAL:

- All materials supplied by contractor shall be accompanied by the Test Certificate of the manufacturer.

- The EIC reserves the right to instruct any material to be further tested in an approved laboratory.

MACHINERY and TOOLS (OPERATION and MAINTENANCE) :

- All hand tools and machinery to be used for the above work shall be arranged and maintained by you at your cost. In case, machinery brought by you on site is not sufficient, you will have to bring extra machinery as per instruction of engineer-in-charge. If the machinery is supplied by the owner/builder you have to pay for the same.

- Recalibration & Precision of machinery and tools required before start of new work and after every 6 months & certification for the same will be required by competent authorities and need to be submitted to store or PMC.

- In case of breakdown of machinery, contractor needs to replace it on priority so    that it should not hamper the work.

LABOUR EMPLOYMENT & WORKMANSHIP:

- Contractor’s personnel deputed for the Work shall abide with all rules & regulations including the safety procedures prevailing at Site/ Office and shall be medically fit to perform the Work.

- The Builder shall not be liable for any claim of loss or any other consequences, direct / indirect damages that may be suffered by the Contractor/ his employees during the execution of the work.

- Contractor shall at all-time keep the Builder fully indemnified against any consequences – financial or legal or socio-legal    complication arising out of Contractor’s own or his personnel’s fault/ negligence in working on any account. The Contractor shall ensure that he or his employees do not cause any damage to the property of the Builder/ Site Staff/ any Third party and shall ensure that the Builder is fully indemnified.

- Workmanship of the work carried out by the contractor shall be as per IS standards.  Quality of work is the essence of this contract. .In case of any Lapse of quality workmanship the contractor may be subject to a debit upto 5% of the contract value at the sole discretion of the Project Manager. In case of Dispute the decision of the Management will be final and binding.

SAFETY REGULATIONS:

- Accident Prevention & Personal Protection: The contractor shall ensure and arrange at his own cost for safety provisions

as   per National Safety Council of India and safety manuals for labour.

First aid facilities at easily accessible place shall be provided by the contractor at his own cost as per provisions of labour act.

All workmen & representative at site shall wear safety helmets, safety shoes, safety jackets, safety line, safety gloves, safety goggles,   safety belts etc. Helmets, safety shoes, safety gloves, goggles and safety belts, life line rope for labours shall be provided by contractor at his own cost & it shall be of ISI mark .Safety net, pipe and fixtures shall be provided by client and fixed by contractor

at his own cost.

- If contractor is not following the safety norms as per safety requirement(instructed by Project in charge)  of work debit for the same shall be  applicable as i) Rs250/Per day / Person for not wearing safety helmets & safety shoes  ii) Rs 1000/Per day / Person for not wearing safety belts. iii) Rs 2000/per day for not fixing & maintaining the life line rope. iv) Rs 250/per day / Person for not Wearing of safety gloves & goggles.

- Electrical equipment & Installations: All adequate precautions shall be taken by the contractor to prevent electrical short circuits or overload causing explosions or fires. Hand and power tools must be maintained in a safe condition. Only trained employees shall be allowed to operate power actuated tools. Such tools must be tested before loading to see that the safety devices are in proper working condition in accordance with manufacturer’s procedure. The following general guidelines shall be followed:

- Provide earth leakage protection on every socket outlet and lighting and    power circuits.

- Use separate 5/14 A socket outlets with shutters for single and three phase.

- All wiring shall be joint less and to be properly colour coded.

- HRC fuse unit, main switch unit not to be used. Only circuit breakers shall be used.

- All equipments drawing power from socket outlets shall only be portable electric equipments.

- Equipment such as grinding machine, cutting machine, drilling machine etc. shall be properly checked, tested and maintained by the contractor before using for any work. All these equipments should have insulated cover. Contractor shall not put the wires directly in to points, appropriate plugs shall be provided to the wires. Contractor to take care of all above precautions otherwise any accident, loss of life & property shall be solely contractor’s responsibility & contractor shall face all legal proceedings arising out of these situations.

- Handling & Storage of materials: All materials which is to be used under this contract shall be stored at the site in a shed which is leak proof and moisture proof. Flammable materials such as compressed gas and petroleum products shall not be stored in the same shed or close to each other. Storage space will be provide by client free of cost, Temporary construction of Store in contractor scope.

- Scaffolding: Scaffolds must be provided for all works which cannot be safely done from the ground or any part of the building. The scaffolds must only be erected, altered or dismantled under competent supervision and by experienced persons. All scaffolding materials must be inspected before use to check that they are suitable and sound. The scaffolds must be on a solid, even base or suspended from a sound structure, braced to prevent failure and tied to the building or structure unless specially designed to be completely independent. Scaffolding must be provided/arranged by the Contractor at his own cost.

- Barricades: The Contractor shall erect and maintain barricades required in connection with his operations to guard or  protect hoisting areas, areas adjudged hazardous, existing property subject to damage by the contractors operation, guarding of floor openings and floor holes. Every temporary floor opening shall have railings or shall be constantly attended. Every floor hole into which person can accidentally fall shall be guarded. Ramps and gangways shall be of adequate strength and evenly supported. They shall either have a sufficiently flat slope or shall have cleats fixed to the surface to prevent the slipping of workmen.

- Fire Prevention: Electrical wiring equipment for heating, light or power purposes must be installed in compliance with statutory requirements. In temporary buildings, yard and storage areas appropriate care shall be taken for the proper separation of hazardous materials to prevent the possibility of fire. The contractor shall be responsible for maintaining the entire area under his operations, free from the accumulation of unnecessary combustible materials.

GENERAL AND STATUTORY OBLIGATION:

- Operation and safe handling of all tools, plants and equipment which will be supplied by the company shall be the responsibility of the contractor.

- Contractor has seen, studied and understood all drawing and specifications no deviation from drawing and specification issued will be allowed.

- Contractor is supposed to be expert in this field and he shall point out material problem, fault in design any alternatives in working to achieve standard and best result. Any such changes shall be applied only after written permission of site in charge.

- Contractors shall inform requirements of materials ( if supply by builder) at least 14 days in advance to our site engineer in writing. Also he shall discuss and finalized with site engineer placement on site, keeping in view site requirements, working area, arrangement made for stacking material in net and arranged manner.

- The contractor shall rectify the substandard work / work rejected by the PM diligently as per the instructions of the Project Manager. Material required for such rectifications (due to poor workmanship) shall be debited to the contractor at prevailing market rates.

- Method of work executions shall be as per instructions of Project Manager.

- Contractor has visited the site and inspected by himself.  No compensation / extra payment shall be paid to the contractor on any account if the contractor has misjudged himself regarding site conditions..

- Contractors will not sublet the work under this contract to any other party under any circumstances.

- Cement wastage done(if applicable to specified work) at site by the contractor, will be debited to contractor.

- Any damage done to other’s work by the contractor during execution to gates, walls etc. of the client shall be rectified by the Contractor and made good or expenses towards the same shall be recovered through the Contractor’s bills.

- Cement wastages are allowed 3% only. Extra wastages to be debited.

- In Case contractor is not performing as per require speed and quality of work, the client has reserve the rights to allot some part of work to another contractor without any prior notice. The contractor shall bind to work with new contractor without any dispute

- Client has reserve the rights to allot half or more part of work in a building to another contractor at any stage of work for early completion of work. As per the work front is available.

- All the material, bricks, pieces excess sand, wastage of welding roads, small MS sections etc, to be filled in bags & to be brought down & dumped as directed by an Engineer. Throwing of material through ducts / building is strictly prohibited. If seen, debit as decided by builder will be applicable to contractor

- If any part of said work which is in contractor’s scope and contractor is not completing it then client shall be get it done by other agency. And the debit for the same shall be 1.5 times of actual amount.

- If in any condition labour camp to be required to be relocated no extra payment will be made.

TERMINATION OF CONTRACT:

Contract can be terminated by the Owner if –

- If the schedule of work is delayed by more than one month beyond the stipulated time due to the reasons attributed by the contractor which are not reasonably accepted by the Owner.

- If the contractor refuses, delays or fails to rectify any defective workmanship within 15 days after the direction or instructions given by the Project Manager through any mode of communication.

- Fails to withdraw immediately sub-contractors, employees to whom Owner /Project Manager objects or  whose presence on the works contravene the conditions of this contract or may cause labour dispute in sub-contractors or other trade and to replace such employees.

- If he makes any kind of agreement or arrangements with his personal creditors, sub-contractors and execute a bill of sale, or commits an act of bankruptcy or being a limited company, go into liquidation or sublet whole or any part of agreed/assigned  work without the Owners /Project Managers written prior approval of the same.

- If in case, contractor himself discontinues the work in between or terminated, then he will not be applicable to claim any retention & cleaning amount in R.A Bill.

- In any case, if the work is terminated, Builder would be paying to the contractor only and only for the actual work done by the contractor. At the site as per payment schedule .The builder would not be responsible for any of his profit/losses or investments done by him.

- In any case, if the work is terminated contractor has to move all his scaffolding material, machinery, labour camp, immediately. He shall not give any reason of payment or any. he has to do this immediately. If he fails to do so builder shall do this and same shall be debited to him.

AMICABLE SETTLEMENT/ ARBITRATION:

- In case of any types of internal or external disputes, the matter shall be firstly referred to company management for amicable settlement and If the decision is not accepted by any of the party, the matter shall be referred to an independent arbitrator appointed by both the parties herein and the appointed Arbitrator’s decision shall be final and binding on both the parties.

- Jurisdiction of this agreement shall be Pune only for any kind of legal disputes.

ACCEPTANCE:

The acceptance of the order implies and includes acceptance of all terms & conditions enumerated in this work order in total. Please sign the duplicate copy of this Work Order as a token of your acceptance.

For, company                                                                                                                            For, contractor

Authorized Signatory                                                                                                        Authorized Signatory

Project Manager                                                                                                                 Director